# Jr Warden Report

Dining Hall (9/15/2015): Construction nearing completion (Ram Contracting, Tony Marshall)

Service Building (9/15/2015): Overhead doors repaired and secured. Hot water heater to be replaced.

Cottage (9/15/2015): Hot water heater not functioning properly. It is repaired.

Waste removal (9/15/2015): Negotiating new terms. Collecting new bids.

CFMS building (9/15/2015): HVAC not functioning. Southland is running tests.

Gallery bathrooms (9/11/2015): Maintenance is being handed off to CFMS.

CFMS (9/9/2015): Request has been made for more lighting in parking lot.

Backhoe (9/8/2015): Was not working properly. Technician diagnosed problem.

Service building (9/8/2015): Large hole in fence (security issue) was repaired.

Cemetery grounds (9/8/2015): Water pipe failed under road by NH gate. Hole dug. Problem fixed. Hole filled. Pavement to be repaired.

CFMS building (9/8/2015): Miscellaneous issues identified during walk through. All to be addressed.

Basement (9/1/2015): Leak in sump pump check valve repaired.

Backhoe (8/23/2015): Backhoe being purchased.