## Slide 1
Master Bath
B
S
R
Serve Original House
3rd Floor
Sunroom
T
F
F
Pre-Built Manifold
F
Adjustable Flow Meter
T
Thermostat
No Connection, Pass Through
Manual Balancing Valve
Ball Valve
Thermostatic Mixing Valve
Circulating Pump
Existing
New
Basement
PEX
PEX
PEX
PEX
Insulated
Copper
D
A
Air Vent
D
¾” Garden Drain/Fill and Cap
A
D
T
D
D